Supplementary File

Supplemental Table 1a: Historical refractive index values for native plasma with no anticoagulant added (Starlinger 1923b).

| Sample | Pulfrich Unit Scale | (17.5 °C) nD |
| --- | --- | --- |
| (A) | 68.5 | 1.35334 |
| (B) | 62.65 | 1.35119 |
| (C) | 59.0 | 1.34984 |
| (D) | 64.05 | 1.35171 |
| (E) | 60.7 | 1.35047 |
| (F) | 60.4 | 1.35036 |
| (G) | 60.0 | 1.35021 |
| (H) | 58.1 | 1.34951 |
| (I) | 58.2 | 1.34954 |
| (J) | 50.95 | 1.34685 |
| (K) | 65.15 | 1.35211 |
| (L) | 59.9 | 1.35017 |
| (M) | 49.55 | 1.34633 |
| (N) | 47.95 | 1.34573 |
| (O) | 63.25 | 1.35141 |
| (P) | 61.0 | 1.35058 |
| (Q) | 58.75 | 1.34975 |
| (R) | 54.95 | 1.34834 |
| (S) | 64.9 | 1.35201 |
| (T) | 63.0 | 1.35132 |

Remark: Pulfrich scale units were converted to refractive index values according to B. Wagner, Tabellen zum Eintauchrefraktometer [Tables for the immersion refractometer], Sondershausen 1928, p. XXXIII – XXXIV (see Supplemental Figure 1). The then standard temperature of 17.5 °C was assumed. The readout accuracy of about 0.1 scale units corresponds to about 0.000037 refractive index units. The introduction gives an overview of the instrument’s use; a reference section lists medical and clinical studies and applications as well.

Supplemental Table 1b: Historical refractive index values for native plasma with and with hirudin (Hasuike 1928).

| Sample | Type | Pulfrich Unit Scale | (17.5 °C) nD |
| --- | --- | --- | --- |
| Plasma A | Native | 55.6 | 1.34858 |
| Plasma B |  | 51.4 | 1.34702 |
| Plasma C |  | 50.2 | 1.34657 |
| Plasma D |  | 55.1 | 1.34840 |
| Plasma E |  | 54.8 | 1.34829 |
| Plasma F |  | 54.5 | 1.34818 |
| Plasma A | Hirudin | 55.6 | 1.34858 |
| Plasma B |  | 51.5 | 1.34706 |
| Plasma C |  | 50.2 | 1.34657 |
| Plasma D |  | 55.0 | 1.34836 |
| Plasma E |  | 54.8 | 1.34829 |
| Plasma F |  | 54.5 | 1.34818 |

Remark: Pulfrich scale units were converted to refractive index values according to B. Wagner, Tabellen zum Eintauchrefraktometer [Tables for the immersion refractometer], Sondershausen 1928, p. XXXIII – XXXIV (see Supplemental Figure 1). The then standard temperature of 17.5 °C was assumed. The readout accuracy of about 0.1 scale units corresponds to about 0.000037 refractive index units. The introduction gives an overview of the instrument’s use; a reference section lists medical and clinical studies and applications as well.

Supplemental Table 1c: Historical refractive index values for hirudin plasma of diseased and healthy individuals (Jung 1927).

| Sample | Pulfrich Unit Scale | (17.5 °C) nD |
| --- | --- | --- |
| Carcinoma | 62.40 | 1.35110 |
| Carcinoma prostatae | 63.45 | 1.35148 |
| Congenital syphilis | 59.06 | 1.34987 |
| Congenital syphilis | 63.91 | 1.35165 |
| Enuresis | 64.60 | 1.35190 |
| Emphysema | 61.00 | 1.35058 |
| Erythema nodosum | 60.97 | 1.35057 |
| Furuncle | 62.15 | 1.35101 |
| Gastritis | 58.92 | 1.34981 |
| Gastritis | 60.00 | 1.35021 |
| Gastritis | 60.36 | 1.35034 |
| Mediastinal tumor | 57.23 | 1.34918 |
| Obstipation | 63.28 | 1.35142 |
| Pharyngitis | 60.00 | 1.35021 |
| Pharyngitis | 63.24 | 1.35140 |
| Pulmonary tuberculosis | 60.97 | 1.35057 |
| Pulmonary tuberculosis | 63.10 | 1.35135 |
| Pulmonary tuberculosis | 62.44 | 1.35111 |
| Pulmonary tuberculosis | 66.65 | 1.35266 |
| Pulmonary tuberculosis | 63.92 | 1.35164 |
| Pulmonary tuberculosis | 63.59 | 1.35153 |
| Pulmonary tuberculosis | 63.43 | 1.35146 |
| Pulmonary tuberculosis | 62.08 | 1.35099 |
| Pulmonary tuberculosis | 66.88 | 1.35275 |
| Pyelitis | 62.53 | 1.35114 |
| Rheuma | 60.52 | 1.35040 |
| Rheuma | 60.43 | 1.35037 |
| Retroflexio | 64.62 | 1.35190 |
| Third stage syphilis | 65.74 | 1.35232 |
| Healthy | 57.32 | 1.34922 |
| Healthy | 58.92 | 1.34981 |
| Healthy | 59.52 | 1.35003 |
| Healthy | 60.10 | 1.35025 |
| Healthy | 58.18 | 1.34954 |
| Healthy | 57.37 | 1.34924 |
| Healthy | 60.17 | 1.35028 |
| Healthy | 60.50 | 1.35040 |
| Healthy | 57.00 | 1.34910 |
| Healthy | 59.09 | 1.34988 |
| Healthy | 65.50 | 1.35224 |

Remark: Pulfrich scale units were converted to refractive index values according to B. Wagner, Tabellen zum Eintauchrefraktometer [Tables for the immersion refractometer], Sondershausen 1928, p. XXXIII – XXXIV (see Supplemental Figure 1). The then standard temperature of 17.5 °C was assumed. The readout accuracy of about 0.1 scale units corresponds to about 0.000037 refractive index units. The introduction gives an overview of the instrument’s use; a reference section lists medical and clinical studies and applications as well.

Supplemental Table 2: Calibration of the specific refractive index increment of plasma pools for fractionation.

| Sample | nD20 (Sample) | nD20 (10 kDa permeat) | Net nD20 | dn/dc (mL/mg) | mg/mL (Refractometric) | mg/mL (Dumas) |
| --- | --- | --- | --- | --- | --- | --- |
| P01 | 1,34610 | 1,33526 | 0,01084 | 0,0001953 | 55,8 | 55,5 |
| P02 | 1,34615 | 1,33527 | 0,01088 | 0,0001946 | 56,0 | 55,9 |
| P03 | 1,34622 | 1,33527 | 0,01095 | 0,0001924 | 56,4 | 56,9 |
| P04 | 1,34606 | 1,33526 | 0,01080 | 0,0001925 | 55,6 | 56,1 |
| P05 | 1,34626 | 1,33525 | 0,01101 | 0,0001952 | 56,7 | 56,4 |
| P06 | 1,34624 | 1,33542 | 0,01082 | 0,0001925 | 55,7 | 56,2 |
| P07 | 1,34620 | 1,33534 | 0,01086 | 0,0001943 | 55,9 | 55,9 |
| P08 | 1,34610 | 1,33529 | 0,01081 | 0,0001962 | 55,7 | 55,1 |
| P09 | 1,34630 | 1,33537 | 0,01093 | 0,0001924 | 56,3 | 56,8 |
| P10 | 1,34635 | 1,33538 | 0,01097 | 0,0001959 | 56,5 | 56,0 |
| P11 | 1,34619 | 1,33535 | 0,01084 | 0,0001949 | 55,8 | 55,6 |
| P12 | 1,34621 | 1,33538 | 0,01083 | 0,0001943 | 55,8 | 55,7 |
| P13 | 1,34609 | 1,33532 | 0,01077 | 0,0001910 | 55,5 | 56,4 |
| P14 | 1,34629 | 1,33540 | 0,01089 | 0,0001957 | 56,1 | 55,7 |
| P15 | 1,34622 | 1,33529 | 0,01093 | 0,0001955 | 56,3 | 55,9 |
| P16 | 1,34619 | 1,33532 | 0,01087 | 0,0001938 | 56,0 | 56,1 |
| P17 | 1,34607 | 1,33538 | 0,01069 | 0,0001931 | 55,0 | 55,4 |
| P18 | 1,34614 | 1,33533 | 0,01081 | 0,0001970 | 55,7 | 54,9 |
| P19 | 1,34626 | 1,33532 | 0,01094 | 0,0001962 | 56,3 | 55,8 |
| P20 | 1,34618 | 1,33539 | 0,01079 | 0,0001923 | 55,6 | 56,1 |
| P21 | 1,34624 | 1,33540 | 0,01084 | 0,0001945 | 55,8 | 55,7 |
| P22 | 1,34621 | 1,33538 | 0,01083 | 0,0001918 | 55,8 | 56,5 |
| P23 | 1,34608 | 1,33540 | 0,01068 | 0,0001905 | 55,0 | 56,1 |
| P24 | 1,34613 | 1,33541 | 0,01072 | 0,0001926 | 55,2 | 55,7 |
| P25 | 1,34613 | 1,33538 | 0,01075 | 0,0001944 | 55,4 | 55,3 |
| P26 | 1,34621 | 1,33536 | 0,01085 | 0,0001927 | 55,9 | 56,3 |
| P27 | 1,34615 | 1,33539 | 0,01076 | 0,0001914 | 55,4 | 56,2 |
| P28 | 1,34603 | 1,33538 | 0,01065 | 0,0001914 | 54,8 | 55,6 |
| P29 | 1,34611 | 1,33535 | 0,01076 | 0,0001946 | 55,4 | 55,3 |
| P30 | 1,34609 | 1,33539 | 0,01070 | 0,0001932 | 55,1 | 55,4 |
| P31 | 1,34607 | 1,33530 | 0,01077 | 0,0001927 | 55,5 | 55,9 |
| P32 | 1,34620 | 1,33534 | 0,01086 | 0,0001940 | 55,9 | 56,0 |
| P33 | 1,34627 | 1,33535 | 0,01092 | 0,0002015 | 56,2 | 54,2 |
| P34 | 1,34616 | 1,33531 | 0,01085 | 0,0001944 | 55,9 | 55,8 |
| P35 | 1,34617 | 1,33538 | 0,01079 | 0,0001950 | 55,6 | 55,3 |
| P36 | 1,34618 | 1,33529 | 0,01089 | 0,0001987 | 56,1 | 54,8 |
| P37 | 1,34610 | 1,33533 | 0,01077 | 0,0001965 | 55,5 | 54,8 |
| P38 | 1,34607 | 1,33540 | 0,01067 | 0,0001947 | 54,9 | 54,8 |
| P39 | 1,34601 | 1,33538 | 0,01063 | 0,0001947 | 54,7 | 54,6 |
| Mean | 1,3461649 | 1.33535 | 0,010818 | 0.0001942 | 55.7 | 55.7 |
| RSD(%) | 0,01 | < 0.01 | 0,84 | 1.11 | 0.86 | 1.08 |

Remark: RSD stands for relative standard deviation. Paired t-test, calculated with GraphPad Prism version 8.0.0 for Windows, GraphPad Software, San Diego, California USA, www.graphpad.com, did not detect statistically significant differences between the means obtained with refractometry and Dumas (p=0.9793).

Supplemental Table 3: Measurement of single-donor plasma samples with digital refractometers.

| Sample | J357CC analytical refractometer | Reichert TS-D clinical refractometer |
| --- | --- | --- |
|  | nD20 sample | nD20 permeat | mg/mL protein | nD sample | nD permeat | mg/mL protein | “serum protein” | T °C |
| 4034 | 1.34620 | 1.33528 | 56.3 | 1.3461 | 1.3350 | 57 | 58 | 23.1 |
| 4035 | 1.34575 | 1.33519 | 54.4 | 1.3456 | 1.3349 | 55 | 56 | 23.2 |
| 4046 | 1.34654 | 1.33526 | 58.1 | 1.3462 | 1.3350 | 58 | 59 | 23.6 |
| 4047 | 1.34665 | 1.33527 | 58.7 | 1.3464 | 1.3349 | 59 | 60 | 23.9 |
| 4068 | 1.34590 | 1.33538 | 54.2 | 1.3456 | 1.3350 | 55 | 56 | 23.7 |
| 4073 | 1.34651 | 1.33527 | 57.9 | 1.3463 | 1.3350 | 58 | 59 | 23.9 |
| 4075 | 1.34711 | 1.33540 | 60.4 | 1.3469 | 1.3351 | 61 | 63 | 23.8 |
| 4076 | 1.34686 | 1.33532 | 59.5 | 1.3466 | 1.3350 | 60 | 61 | 24.2 |
| 4078 | 1.34670 | 1.33527 | 58.9 | 1.3465 | 1.3350 | 59 | 60 | 24.2 |
| 4079 | 1.34789 | 1.33530 | 64.9 | 1.3478 | 1.3351 | 65 | 67 | 22.9 |
| 4081 | 1.34653 | 1.33527 | 58.0 | 1.3463 | 1.3350 | 58 | 59 | 24.0 |
| 6000 | 1.34690 | 1.33529 | 59.8 | 1.3467 | 1.3350 | 60 | 61 | 23.9 |
| 6001 | 1.34674 | 1.33532 | 58.9 | 1.3466 | 1.3350 | 60 | 61 | 23.0 |
| 6017 | 1.34526 | 1.33529 | 51.4 | 1.3450 | 1.3350 | 52 | 53 | 24.1 |
| 6021 | 1.34686 | 1.33541 | 59.0 | 1.3467 | 1.3352 | 59 | 61 | 23.7 |
| 6027 | 1.34491 | 1.33548 | 48.6 | 1.3447 | 1.3352 | 49 | 51 | 24.0 |
| 6028 | 1.34649 | 1.33539 | 57.2 | 1.3463 | 1.3351 | 58 | 59 | 24.2 |
| 6079 | 1.34588 | 1.33514 | 55.4 | 1.3457 | 1.3349 | 56 | 56 | 23.4 |
| 6114 | 1.34674 | 1.33520 | 59.5 | 1.3465 | 1.3349 | 60 | 61 | 23.3 |
| 6120 | 1.34663 | 1.33524 | 58.7 | 1.3464 | 1.3350 | 59 | 60 | 23.6 |
| 6121 | 1.34613 | 1.33532 | 55.7 | 1.3460 | 1.3352 | 56 | 58 | 22.9 |
| 6122 | 1.34709 | 1.33534 | 60.6 | 1.3469 | 1.3350 | 61 | 63 | 23.2 |
| 6123 | 1.34574 | 1.33528 | 53.9 | 1.3455 | 1.3350 | 54 | 56 | 23.2 |
| 6124 | 1.34698 | 1.33526 | 60.4 | 1.3468 | 1.3350 | 61 | 62 | 23.4 |
| 6125 | 1.34724 | 1.33524 | 61.9 | 1.3470 | 1.3350 | 62 | 63 | 23.4 |
| 6126 | 1.34651 | 1.33524 | 58.1 | 1.3463 | 1.3350 | 58 | 59 | 23.5 |
| 6127 | 1.34741 | 1.33521 | 62.9 | 1.3471 | 1.3349 | 63 | 64 | 23.6 |
| 6128 | 1.34667 | 1.33528 | 58.7 | 1.3465 | 1.3350 | 59 | 60 | 23.6 |
| 6129 | 1.34643 | 1.33532 | 57.3 | 1.3462 | 1.3351 | 57 | 59 | 23.7 |
| 6130 | 1.34764 | 1.33532 | 63.5 | 1.3474 | 1.3351 | 63 | 65 | 23.6 |
| 6131 | 1.34680 | 1.33531 | 59.2 | 1.3465 | 1.3351 | 59 | 31 | 23.7 |
| 6132 | 1.34677 | 1.33525 | 59.4 | 1.3464 | 1.3350 | 59 | 60 | 23.7 |
| 6134 | 1.34672 | 1.33529 | 58.9 | 1.3465 | 1.3349 | 60 | 60 | 23.9 |
| 6135 | 1.34695 | 1.33523 | 60.4 | 1.3467 | 1.3349 | 61 | 62 | 23.9 |
| 6136 | 1.34715 | 1.33531 | 61.0 | 1.3469 | 1.3350 | 61 | 63 | 24.0 |
| 6137 | 1.34792 | 1.33536 | 64.7 | 1.3478 | 1.3352 | 65 | 67 | 22.6 |
| 6138 | 1.34691 | 1.33538 | 59.4 | 1.3467 | 1.3351 | 60 | 61 | 23.4 |
| 6139 | 1.34675 | 1.33529 | 59.1 | 1.3465 | 1.3349 | 60 | 61 | 24.0 |
| 6141 | 1.34637 | 1.33543 | 56.4 | 1.3462 | 1.3354 | 56 | 59 | 24.0 |
| 6144 | 1.34686 | 1.33547 | 58.7 | 1.3466 | 1.3354 | 58 | 61 | 23.1 |
| 6177 | 1.34643 | 1.33538 | 57.0 | 1.3462 | 1.3352 | 57 | 59 | 23.2 |
| 6206 | 1.34507 | 1.33536 | 50.1 | 1.3448 | 1.3351 | 50 | 52 | 23.5 |
| 6207 | 1.34793 | 1.33528 | 65.2 | 1.3477 | 1.3351 | 65 | 67 | 23.4 |
| 6210 | 1.34752 | 1.33532 | 62.9 | 1.3472 | 1.3350 | 63 | 64 | 23.5 |
| 6211 | 1.34705 | 1.33531 | 60.5 | 1.3468 | 1.3350 | 61 | 62 | 24.0 |
| 6213 | 1.34815 | 1.33525 | 66.5 | 1.3480 | 1.3349 | 68 | 68 | 24.1 |
| 6214 | 1.34711 | 1.33531 | 60.8 | 1.3468 | 1.3350 | 61 | 62 | 24.0 |
| 6215 | 1.34711 | 1.33536 | 60.6 | 1.3468 | 1.3352 | 60 | 62 | 23.3 |
| 6216 | 1.34746 | 1.33526 | 62.9 | 1.3470 | 1.3351 | 61 | 63 | 23.3 |
| 6217 | 1.34686 | 1.33527 | 59.7 | 1.3466 | 1.3350 | 60 | 61 | 23.9 |

Supplemental references:

Theses (printed or issued as monographs)

Schwenker G (1911) Methodische Untersuchungen zur Refraktometrie des Blutes [Methodological investigations on the refractometry of blood], M. D. Dissertation, University of Kiel, Data on serum only are given.

Jung E (1927) Refraktometrische und viskosimetrische Untersuchungen an Hirudinplasma [Refractometric and viscosimetric inversigations on hirudin plasma], M. D. Dissertation, University of Zurich: The amount of hirudin added for anticoagulation is not given.

Bekerman IA (1933) Refraktometrische Untersuchungen im Blutplasma nach Darreichung verschiedener Salzlösungen [Refractometric investigations in blood plasma after administration of various salt solutions], M. D. Dissertation, University of Bâle: Rabbit blood only was studied.

Gimpel A (1933) Refraktometrische Untersuchungen am Blutserum [Refractometric investigations on blood serum], M. D. Dissertation, University of Bâle: Patient and healthy control sera, and animal sera were studied.

Wajnryb E (1935) Refraktometrische Untersuchungen am Blutserum [Refractometric investigations on blood serum], M. D. Dissertation, University of Bâle: Patient sera were studied.

Faust W (1949) Über Eignung von Plasma und Serum zur Bluteiweissbestimmung mit dem Refraktometer und über jahrezeitliche Schwankungen des Bluteiweissgehaltes [on the suitability of plasma and serum fort he determination of blood protein, and on seasonal variations oft he blood protein content], (typoscript) M. D. Dissertation, University of Tübingen (this extensive, but somewhat confusing dissertation does not give raw data).

Hanenson I (1951) Refraktometrische Untersuchungen im Blutserum unter verschiedenen experimentellen Bedingungen [refractometric investigations in blood serum at various experimental conditions], M. D. Dissertation, University of Bâle, (rabbit sera, patient sera).

Journal articles:

Richter-Quittner M, Hoenlinger H (1921) Bestimmung des Reststickstoffs mittels Ultrafiltration. Wiener Klin Wochschr 3: 24.

Ruznyák S, Hetényi G (1921) Physikalisch-chemische Untersuchungen von Körperflüssigkeiten. III. Der Zustand des Reststickstoffs [Physico-chemical investigations on body fluids. III. The state of the residual nitrogen]. Biochem Z 113: 56-57.

Richter-Quittner M (1921) Zur Methodik der chemischen Blutanalyse. III. Die Bedeutung der Ultrafiltrationsmethode für die Blutanalytik [On the methodology of chemical blood analysis. III. The meaning of the ultrafiltration method on blood analysis]. Biochem Z 124: 106-113.

Lucke H (1924) Reststickstoff und Kochsalz im Blutserum nach Enteiweißung durch Membranfiltration [Residual nitrogen and salt after deproteination by membrane filtration]. Dt med Wochschr 50: 432.

Starlinger W (1923) Über die Methodik der quantitativen Bestimmung des Fibrinogens [On the methodology oft he quantitative deterination of fibrinogen]. Biochem Z 140: 203-229.

Starlinger W (1923) Über die Methodik der quantitativen Bestimmung des Fibrinogens. II. Mitteilung [On the methodology of the quantitative deterination of fibrinogen. 2nd communication]. Biochem Z 143: 179-185.

Hasuike T (1928) On the methodology of fibrinogen determination (original in Japanese). Okayama Igakkai Zasshi (J Okayama Med Ass) 40: 1232-1239.

Wilenski BA (1929) Über Ultrafiltration als Enteiweißungsmethode für die Bestimmung des Amino- und Reststickstoffs im Blute [On ultrafiltration as deproteinization method for the determination of amino- and residual nitrogen in the blood]. Biochem Z 204: 433-438.

Books and Monographs:

Wagner B (1928) (Wagners) Tabellen zum Eintauchrefraktometer [(Wagner’s) tables for the immersion refractometer], 2nd (revised and augmented), Sondershausen.

Supplemental Figure 1: The scale units (Sk. T. = Skalenteile)/RII conversion table for the Zeiss-Pulfrich immersion refractometer as given by Wagner 1928 (public domain).

Supplemental Figure 2: Refractometers used in this study: From left to right: Reichert Goldberg TS manual serum refractometer, Reichert TS-D digital serum refractometer, Rudolph Research J357CC digital laboratory refractometer (with open lid and water on the prism window).

Supplemental Figure 3: Bland-Altman plot for plasma protein in the TS-D refractometer: Net RI- based versus “Serum protein”.